## Slide 1
1 Institute of Modern Physics, Chinese Academy of Sciences
2 School of Nuclear Science and Technology, University of Chinese Academy of Sciences
2022.12.05
G. L. Dou1,2, B. Wang1，X. Chen1,2, X. W. Wang1, Q. G. Yao1,, L. Yang1,, C. C. Li1 , L. T. Sun1,2 and H. W. Zhao1,2
Simulation and analysis of HIMM-IC
beam dynamics with OPAL

## Slide 2: Content
Background
Operation status and problems
Simulation of Beam dynamics in OPAL
Summary and Outlook

## Slide 3: Background
China’s carbon ion therapy facility-HIMM
Heavy Ion Medical Machine
Cyclotron
Synchrotron
Fig.1 Schematic view of HIMM
2 ECR ion sources
~7MeV/u Cyclotron
120-400 MeV/u Synchrotron
4 Treatment terminals
5 fixed irradiation ports
Maximum particle number
in the terminal (ppp) : 1.2E9

## Slide 4: Background
China’s carbon ion therapy facility-HIMM
Heavy Ion Medical Machine-Injection Cyclotron
Fig2. HIMM-IC
Compact Cyclotron
No Trimming coils
2.92m Diameter
~7 MeV/u 10 μA 12C5+
4 straight edge Sectors
Bc@1.212T Bmax@1.732T
2 RF resonators@31.02MHz
Emax@70kV

## Slide 5: Operation status and problems
Chart: Position
| before Buncher | R100 | R770 | ESD exit | MEBT
 | 50 | 19.2 | 18.94 | 8.95 | 5.5
Fig3. Transmission
Table1. Operation status
Year | Operation Time(h) | Breakdown Time(h) | Operation efficiency
2020 | 7296 | 31.62 | 99.57%
2021 | 7536 | 66.05 | 99.12%
2022 | 6936 | 54.15 | 99.22%
@THBI2 Status Report on the Cyclotron Injector for HIMM by Bing Wang(IMP, CAS)

## Slide 6: Simulations of beam dynamics
Analysis of Isochronous magnetic field
Fig4. Magnet design Model
Fig5. Errors with theoretical field
Fig6. Measurement Bz Map

## Slide 7: Simulations of beam dynamics
Analysis of Isochronous magnetic field
  Static Equilibrium Orbit
Fig7. Static Equilibrium Orbit
Fig8. RF Error

## Slide 8: Simulations of beam dynamics
Analysis of Isochronous magnetic field
  Tune Calculation
Fig9. Static Equilibrium Orbit
Fig10. Tune Diagram

## Slide 9: Simulations of beam dynamics
Acceleration Orbit(Single Particle)
  3D RF E-fields
  2D Measurement B-fields
Fig11. Acceleration Orbit
Fig12. R-dR & E-dE
77 turn@84.971MeV
dR(77)~5mm
dE(average)~1.2MeV
Fig13. dU@integral by CST
@5mm
@1.2MeV

## Slide 10: Simulations of beam dynamics
Acceleration Orbit(Multiparticle)
  1e5 particle@20μA
Fig14. Beam size
@3.6mm
Fig15. Emittance
@27π
Fig16. Emittance from SNOP

## Slide 11: Simulations of beam dynamics
@0.5%
Acceleration Orbit(Multiparticle)
Fig17. Transverse Phase space
Fig18. Energy Spread
Fig19. Acceleration Transmission
@99.2%

## Slide 12: Simulations of beam dynamics
Extraction System(still modeling)
Fig18. Overview of HIMM-IC
ESD
Bump Coil
GCC
Magnet
Channel
Some tips:
OPAL-cycl
Element:Collimator or Septum
Polyline construction
3D E-fields and 2D B-fields

## Slide 13: Summary and Outlook
Summary
  Isochronous and focusing of B-field is good;
  Transverse emittance in good agreement with SNOP;
  Acceleration transmission in good agreement with experimental data;
  Problems: big radial emittance and small turn separation.
Outlook
  Modeling of extraction system;
  End to end simulation.

## Slide 14
Thanks for your attention!
Acknowledgement:
PSI OPAL Group. @Dr. Andreas Adelmann, Dr. Hui Zhang, Dr. Pedro Calvo Portela,
    Dr. Daniel Winklehner, ······et al
CIAE. @Dr. Tianjian Bian, CIRP. @Dr. Huanfeng Hao, CNNC. @Dr. Jianjun Yang ······