## Slide 1: Beam extraction simulation and magnetic channels' design for MSC230 Cyclotron
Dmitry Popov
JINR
podivs@jinr.ru

## Slide 2: MSC230 Project

## Slide 3
Sectors
Dees and Cavities
Yoke
Accelerated Particles | Protons
Magnet Type | Compact, SC coil, warm yoke, B≈1.5 T
Number of Sectors | 4
Number of RF Cavities | 4
Ion Source | Internal, PIG
Final Energy | 230 MeV
Number of Turns | 600
Inside the MSC230
MSC230 design reasoning and specifications

## Slide 4
MSC230 magnet quarter cross section.

## Slide 5: Extraction System

## Slide 6
Extraction system positioning
The extraction beam trajectory (marked blue) with segment zones to deploy magnetic channels (marked red) and electrostatic deflector (marked yellow).

## Slide 7: ELECTROSTATIC DEFLECTOR

## Slide 8
Azimuthal extent, ° | 40°
Azimuthal extent, m | 0.58 m
The nominal gap | 5 mm
The septum’s thickness | 0.1 mm
The voltage of the high-voltage electrode | 50 kV
The nominal electric field strength | 90 kV/cm
Maximal electric field strength | 100 kV/cm
ESD’s specifications

## Slide 9: Magnetic channels

## Slide 10
Placement
The location of MCs along beam trajectory with relation to the rest of the magnet.

## Slide 11
Field distribution & Requirements
Vertical field on MC1 trajectory.
Vertical field on MC2 trajectory.
 | MC1 | MC2
Aperture | 10 mm | 10 mm
Gradient | 100 Gs/mm | 170 Gs/mm
Bz shift | -600 Gs | 0 Gs
mm
mm
T
T

## Slide 12: CHANNELS Design

## Slide 13
Half cross section of MC1 centered around the main particle.
MC1

## Slide 14
The cross section of MC1 with beam aperture.
MC1

## Slide 15
MC1 gradient.
MC1 Bz impact.
MC1 gradient degradation in vertical direction.
Gs/mm
Gs
Gs/mm
mm
mm
mm
MC1

## Slide 16
Half cross section of MC2 centered around the main particle.
MC2

## Slide 17
The cross section of MC2 with beam aperture.
MC2

## Slide 18
MC2 gradient.
MC2 Bz impact.
MC2 gradient degradation in vertical direction.
Gs/mm
Gs
Gs/mm
mm
mm
mm
MC2

## Slide 19: BEAM DYNAMICS SIMULATION

## Slide 20
In cyclotron structure
The beam tracing and extraction in the cyclotron structure.

## Slide 21
In magnetic field

## Slide 22
Particle tracing
The calculated horizontal emittance at the accelerator’s exit is about 8π · mm · mrad, whereas the vertical one is about 2π · mm · mrad.
Radial motion (top) and vertical motion (bottom) of the particles through the extraction system.

## Slide 23: Conclusion

## Slide 24
The MCs alter the field with more than sufficient accuracy.
The channels were inserted into working 3D magnet model. This allowed to perform beam dynamics simulation. The beam were conducted perfectly through the channels.
The channels geometry won’t be hard to alter to meet the requirements of the new version of MSC230.
The design procedure could be automated, if there is demand.

## Slide 25: Thank you for your attention